## Gas data format table
Gas data format table |  |  |  | Ver. 2.0 (2021-03-25)
For more details, please visit: |  | https://gaw.kishou.go.jp/documents/manuals
Item | Number of digits | "No Data" expression | Content | Detail
Site_gaw_id | 3 | - | Site code | 3-letter site identification code as defined by GAWSIS for stationary platforms
Year | 4 | -999 | Start year | Initial calendar year of observation
Month | 2 | -9 | Start month | Initial calendar month of observation
Day | 2 | -9 | Start day | Initial day of observation
Hour | 2 | -9 | Start hour | Initial hour of observation
Minute | 2 | -9 | Start minute | Initial minute of observation
Second | 2 | -9 | Start second | Initial second of observation
Year | 4 | -999 | End year | Final calendar year of observation
Month | 2 | -9 | End month | Final calendar month of observation
Day | 2 | -9 | End day | Final day of observation
Hour | 2 | -9 | End hour | Final hour of observation
Minute | 2 | -9 | End minute | Final minute of observation
Second | 2 | -9 | End second | Final second of observation
Value | Variable | -999.999 | Observation value | Reported mole fraction, isotope ratio or radioactivity. Units depend on trace gas species.
Value_unc | Variable | -999.999 | Uncertainty based on standard deviation | Standard deviation of the reported mean value when Nvalue is greater than 1. Units depend on trace gas species.
Nvalue | Variable | -9 | Number of measurements | Number of individual measurements used to compute reported values
Latitude | Variable | -1000 | Latitude | Latitude of sampling location in decimal degrees (north: +; south: –)
Longitude | Variable | -1000 | Longitude | Longitude of sampling location in decimal degrees (east: +; west: –)
Altitude | Variable | -999.999 | Elevation + intake height | Altitude (elevation + intake height) of air sample collection. Units are meters above sea level (masl).
Elevation | Variable | -999.999 | Station height | Station height (m) above sea level
Intake_height | Variable | -999.999 | Sampling height | Sampling height (depth) of air (seawater) above ground (below sea level) (height: +; depth: –) (m)
Flask_no | Variable | -999.999 | Flask identifier | Identification code (or number) of flask used for observation
ORG_QCflag | Variable | -999.999 | Original data quality control flag | Details of original data quality control flags should be specified by contributors in metadata.
QCflag | Variable (1 or 2) | -9 | WDCGG data flag | 1 Valid (background) data considered "background"
2 Valid data considered valid other than "background," or all valid data without categorization
3 Invalid data considered unfit for use (questionable/erroneous/absent data)
Details of correspondence between original data quality control flags and WDCGG data flags should be specified by contributors in metadata.
Instrument (Optional item) | Variable (1 or 2) | -9 | Instrument number | Instrument sequence number from oldest to newest
Measurement_method (Optional item) | Variable (1 or 2) | -9 | Measurement method code | Measurement method employed.
Scale (Optional item) | Variable (1 to 4) | -9 | Scale code | Employed scale in observation

## Met data format table
Met data format table |  |  |  | Ver. 2.0 (2021-03-25)
For more details, please visit: | https://gaw.kishou.go.jp/documents/manuals
Item | Number of digits | "No Data" expression | Content | Detail
Site_gaw_id | 3 | - | Site code | 3-letter site identification code as defined by GAWSIS for stationary platforms
Year | 4 | -999 | Year | Calendar year of observation
Month | 2 | -9 | Month | Calendar month of observation
Day | 2 | -9 | Day | Day of observation
Hour | 2 | -9 | Hour | Hour of observation
Minute | 2 | -9 | Minute | Minute of observation
Second | 2 | -9 | Second | Second of observation
Wind_direction | Variable | -99.9 | Wind direction (degree) | Angle (in degrees) between true north and wind direction, and clockwise increase.
Wind_speed | Variable | -99.9 | Average wind speed (m/s) | Average wind speed for the previous 10 minutes. See note *1.
Relative_humidity | Variable | -99.9 | Relative humidity (%)
Precipitation_amount | Variable | -99.9 | Precipitation amount (mm)
Air_pressure | Variable | -999.9 | Air pressure (hPa)
Air_temperature | Variable | -99.9 | Air temperature (degree Celsius)
Dew_point_temperature | Variable | -99.9 | Dew point temperature (degree Celsius)
Sea_water_temperature | Variable | -99.9 | Sea water temperature (degree Celsius) | Temperature at the observation point
Sea_surface_water_temperature | Variable | -99.9 | Sea surface water temperature (degree Celsius)
Sea_water_salinity | Variable | -9999.9 | Sea water salinity (permil) | Sea water salinity at the observation point as calculated using the Practical Salinity Scale 1978 (PSS-78; unit: permil)
Sea_surface_water_salinity | Variable | -9999.9 | Sea surface water salinity (permil) | Sea surface water salinity as calculated using the Practical Salinity Scale 1978 (PSS-78; unit: permil)
Latitude | Variable | -1000 | Latitude | Latitude of sampling location in decimal degrees (north: +; south: –)
Longitude | Variable | -1000 | Longitude | Longitude of sampling location in decimal degrees (east: +; west: –)
Altitude | Variable | -999.999 | Elevation + intake height | Altitude (elevation + intake height) of air sample collection. Units are meters above sea level (masl).*2
Elevation | Variable | -999.999 | Station height | Station height (m) above sea level
*1 Information on meteorological data (e.g., anemometer heights and wind speed sampling methods when it is not average wind speed for the previous 10 minutes) can be included in Step 5.2 during data submission.
*2 This column is used mainly for mobile platform data with varying intake heights (depths) for individual observations (e.g., 3000 for 3 km, -1000 for 1000 m depth). Enter “-999.999” for data that are fixed for individual observations and varied for elements.

## gas data template
site_gaw_id | start year | start month | start day | start hour | start minute | start second | end year | end month | end day | end hour | end minute | end second | value | value_unc | nvalue | latitude (Decimal Degrees North) | longitude (Decimal Degrees East) | altitude (meters above sea level) | elevation (meters above sea level) | intake_height (height:+; depth:–) (m) | flask_no | ORG_QCflag | QCflag | Instrument (Optional) | Measurement_method (Optional) | Scale (Optional) |  | Ver. 2.0 (2021-03-25)
MNM | 1993 | 05 | 24 | 15 | 00 | 00 | -999 | -9 | -9 | -9 | -9 | -9 | 362.88 | 1.258 | 92 | 24.2883 | 153.9833 | 27.1 | 7.1 | 20 | P2-93 | .*. | 2 | 1 | 2 | 1 | (example)
- | -999 | -9 | -9 | -9 | -9 | -9 | -999 | -9 | -9 | -9 | -9 | -9 | -999.999 | -999.999 | -9 | -1000 | -1000 | -999.999 | -999.999 | -999.999 | -999.999 | -999.999 | -9 | -9 | -9 | -9 | ("No Data" expression)

## met data template
site_gaw_id | year | month | day | hour | minute | second | wind_direction | wind_speed | relative_humidity | precipitation_amount | air_pressure | air_temperature | dew_point_temperature | sea_water_temperature | sea_surface_water_temperature | sea_water_salinity | sea_surface_water_salinity | latitude (Decimal Degrees North) | longitude (Decimal Degrees East) | altitude (meters above sea level) | elevation (meters above sea level) |  | Ver. 2.0 (2021-03-25)
MNM | 1993 | 05 | 24 | 15 | 00 | 00 | 270 | 3 | 72 | 0 | 1012.6 | 28.2 | 22.6 | -99.9 | -99.9 | -9999.9 | -9999.9 | 24.2883 | 153.9833 | -999.999 | 7.1 | (example)
- | -999 | -9 | -9 | -9 | -9 | -9 | -99.9 | -99.9 | -99.9 | -99.9 | -999.9 | -99.9 | -99.9 | -99.9 | -99.9 | -9999.9 | -9999.9 | -1000 | -1000 | -999.999 | -999.999 | ("No Data" expression)

## metadata template
Ver. 2.0 (2021-03-25)
These metadata should be filled and edited on the WDCGG website.
metadata (*: Required fields) | items |  | example
1. Organization* (This is information for the organization submitting the data to WDCGG and primary contact from WDCGG or users. The organization's name, acronym and country/territory are required. Fill out the Organization Acronym field using upper and/or lower case letters, like “WDCGG” or “Empa,” in 2 to 16 characters. )
| Organization name* |  | Japan Meteorological Agency
| Organization acronym* |  | JMA
| Country/territory* |  | Japan
Address 1
| Address 2 |  | Global Environment and Marine Department
| Address 3 |  | 1-3-4 Ote-machi, Chiyoda-ku, Tokyo 100-8122
| URL |  | https://www.jma.go.jp/jma/indexe.html
2. Collaborator(s) (Institutes or organizations collaborating with the contributor. The organization's name, acronym and country/territory are required. The organization acronym should be entered using upper and/or lower case, and should be between 2 and 16 characters. Multiple collaborators can be specified. Individual collaborators who should not receive inquiries, requests or other forms of contact regarding submitted data can be specified on the second page. Any individuals specified must be members of the collaborating organization indicated on the first page, but specification of individuals is optional.)
| Organization name* |  | Japan Meteorological Agency
| Organization acronym* |  | JMA
| Country/territory* |  | Japan
Address 1
| Address 2 |  | Global Environment and Marine Department
| Address 3 |  | 1-3-4 Ote-machi, Chiyoda-ku, Tokyo 100-8122
| URL |  | https://www.jma.go.jp/jma/indexe.html
| Person | Name | Kazuyuki SAITO
|  | Email address | ghg_obs@met.kishou.go.jp
Role
|  | Prefix | Mr.
|  | Country/territory | Japan
|  | Address 1 | 1-3-4 Ote-machi,
|  | Address 2 | Chiyoda-ku
|  | Address 3 | Tokyo 100-8122
|  | Phone | +81-3-3287-3439
|  | Fax | +81-3-3211-8309
3. Contact* (The contact is the person responsible for handling inquiries, requests and other forms of consultation regarding submitted data. At least one person must be registered, and multiple contacts are preferable. WDCGG and data users can email the contact directly. Contacts can be chosen from the drop-down list. If no list entries are applicable, add contact details as necessary (name, organization, role, country/territory and so on). )
| Name* |  | Kazuyuki SAITO
| Email address* |  | ghg_obs@met.kishou.go.jp
Role*
| Organization* | Organization name* | Japan Meteorological Agency
|  | Organization acronym* | JMA
|  | Country/territory* | Japan
Address 1
|  | Address 2 | Global Environment and Marine Department
|  | Address 3 | 1-3-4 Ote-machi, Chiyoda-ku, Tokyo 100-8122
|  | URL | https://www.jma.go.jp/jma/indexe.html
| Prefix |  | Mr.
| Country/territory* |  | Japan
| Address 1 |  | 1-3-4 Ote-machi,
| Address 2 |  | Chiyoda-ku
| Address 3 |  | Tokyo 100-8122
| Phone |  | +81-3-3287-3439
| Fax |  | +81-3-3211-8309
4. Aim of Observation* (Select “Aim of Observation,” such as “Background observation.” If none of the options applies, specify the aim in the box that appears after the “Other” option is selected. Entering “Unknown” is discouraged.) | Aim of Observation |  | Background observation
5. Data Time Zone* (Time zones are defined by the time offset (i.e., the difference between local time and UTC (local time – UTC)) from Coordinated Universal Time (UTC). Select the time zone for the timestamp of the observation data. If none of these applies, specify the relevant information after selecting the “Other” option. Entering “Unknown” is discouraged.) | Data Time Zone |  | UTC+09:00
6. Unit* (Select the unit used for the observation data. If none of these applies, specify the relevant information after selecting the “Other” option. Entering “Unknown” is discouraged.) | Unit |  | ppm
7. Calibration Scale (The calibration scale used for observation data and the period of the scale’s usage should be indicated here. Indications of “unknown” are discouraged for CO2, CH4 and N2O in particular. )
| Start | Date | 9999-12-31
|  | Time | 00:00:00
| End | Date | 9999-12-31
|  | Time | 23:59:59
| Scale |  | WMO CO2 X2007
8. Instrument(s) (Indicate the characteristics of the measurement instrument(s). The applicable data period, manufacturer, product name, model number and measurement method should be specified.)
| Start | Date | 9999-12-31
|  | Time | 00:00:00
| End | Date | 9999-12-31
|  | Time | 23:59:59
| Instrument |  | Li-7000 LI-COR Biosciences, Inc
| Measurement Method |  | NDIR
9. Intake Height above ground level (The height (depth) of air (seawater) sampling above the ground (below sea level) in meters: positive for height and negative for depth, except for mobiles (3D) whose altitudes are included in the observation data. For mobile platforms, leave the field blank or input “NA.”)
| Start | Date | 9999-12-31
|  | Time | 00:00:00
| End | Date | 9999-12-31
|  | Time | 23:59:59
| Intake Height above ground level |  | 2.5
10. Sampling Frequency (Select the periodicity of raw data sampling for the current observation. If none of these applies, specify the relevant information after selecting the “Other” option. Entering “Unknown” is discouraged.) | Sampling Frequency |  | 1 minute
11. Measurement Calibration (Contributors should indicate the details of measurement calibration. Calibration for determining mole fractions is described here along with procedures for analysis such as the order of introduction (sequence) for sample and standard gases (or zero gases) to the instrument, the relevant time period and the number of calibration points.) | Measurement Calibration |  | The quadratic fitting curve is determined every two hours based on a set of five working standard gases consisting of CO2-in-natural-air mixtures with different concentrations. The mole fraction is determined from this fitting curve.
12. Data Processing (Details of instrumental data processing are described here. Criteria used in selection for data processing should also be described.) | Data Processing |  | Raw data from the instrument are collected via the data acquisition system and stored as raw data for each 30-second period. CO2 observations are checked on site by an operator every day.
13. Processing for averaging (Details of processes on hourly, daily, monthly data or data selections regarding quality are to be provided here. Individual specifications on how hourly, daily and monthly averages are calculated can be given by selecting “Hourly”, “Daily” or “Monthly” first. Be sure to select the appropriate radio button.)
| Hourly |  | Hourly data are taken from the arithmetic mean of observed data for one hour after the irregular and evident error data are rejected.
| Daily |  | Daily data are taken from the arithmetic mean of background hourly data.
| Monthly |  | Monthly data are taken from the arithmetic mean of background hourly data.
14.1. Original Data Quality Flags (Indicate the criteria for data flagging. If data are already marked with WDCGG data quality flags in the next item description, original data quality flags may not be necessary depending on metadata for the next Data Quality Flag (Valid/Invalid) item. ) | Original Data Quality Flags |  | 0-6: no background condition 7: background condition 9: missing The flag has a positive or negative value. The concentration with the flag of a negative number is provisional and the selection is the same.
14.2 Data Quality Flag (Valid/Invalid) (WDCGG has introduced its own preliminary data flagging scheme to make data files machine-readable. There are three basic types: “1 valid as background”, “2 valid” and “3 invalid”. Indication should be provided on how flags relate to these three types. This description helps to clarify the relationship between contributors’ original data quality flags and WDCGG data quality flags, and eliminates the need to input “QCflag” item values in data records.)
Data Quality Flag
| Original Data Quality Flags |  | 7
15. Reference(s) (References to the observation (such as the instruments, data processing, and calibration) in the literature or URLs should be described here. Data citations can also be provided here. ) | Reference |  | Tsutsumi, Y., H. Matsueda, S. Nishioka, Consistency of the CO2 primary standards in JMA, 12th WMO/IAEA meeting of experts on carbon dioxide concentration and related tracers measurement techniques (Toronto, Canada, 15-18 September 2003), Global Atmosphere Watch Report No. 161 (WMO/TD-No.1275), 23-31, 2005.
16. Observation Status (Select the most appropriate current description from “Operational/Reporting,” “Temporarily suspended” and “Terminated.” Updates should be provided as appropriate. The status will automatically change to “Temporarily suspended” 27 months after the last submission. ) | Observation Status
17. Description (Any other information on observations or data can be provided here. Available information on long/short-term analytical stability and calibration/scale transfer uncertainty of data can be specified. ) | Description |  | Air samples were collected into 24 titanium flasks using manual air sampling pump from Atsugi Air Base to Minamitorishima.
18. DOI (Select “Request for WDCGG DOI issuance,” “Original DOI already present” or “Undecided.” Contributors selecting “Original DOI already present” should provide the DOI.)
DOI
| Original DOI |  | XXX/YYYYY

## Revision history
This table shows the revision history of the format .
Updated date | Format version | Revision description
2018.08.31 | Ver. 1.0 | The new WDCGG format was applied with the renewal of WDCGG website. The style was largely changed from the old version.
2019.11.01 | Ver. 1.0 | This template file was newly released for contributor's convenience in data submission.
2020.06.17 | Ver. 1.0 | The template for meteorological data was added.
2021.03.25 | Ver. 2.0 | Addition of optional items on gas data format and DOI on metadata